MAINTENANCE POLICY-RESOLUTION #00-0320(a)

GENERAL INFORMATION

The HA was formed for the Purpose of providing low-income public housing, and owns and operates a public housing development:  800 Elm Drive, Anytown, Wisconsin.  The development consists of two buildings (referred to as Building #1 and Building #2).  Both buildings are two-storied. Building #1 has 54 units, of which 53 are one-bedroom apartments and one is a three bedroom apartment used as the personal resident of our Maintenance Director.  Building #2 has 51 units.  The mission of the HA’s Board of Commissioners and staff is to provide decent, safe and sanitary housing to low-income elderly, handicapped, or disabled individuals and families.

STAFFING PLAN

The Executive Director is responsible for the day-to-day operation of the HA.  The Executive Director implements policies and procedures instituted by the Board of Commissioners.  All staff answer to the Executive Director, or his/her designee, per the established Organization Chart.  The Maintenance Director is assigned all maintenance tasks for both buildings.  He is responsible for all day-to-day maintenance operations.

GOALS AND OBJECTIVES

The goals and objectives of the HA maintenance department are to maintain the properties of the EHA in a condition equal to or greater than HQS requirements, to meet and exceed all maintenance related PHAS indicators, and to properly perform these tasks with a reasonable amount of overtime, within budget and on schedule.

A.  ROUTINE AND SEASONAL WORK

The Maintenance Director is responsible for all routine and seasonal requirements of   the development.  To assist the maintenance operation, the HA will continue its service contracts to address boiler maintenance, elevator maintenance, and pest control maintenance.

(1)

The basic processing of work orders will be as follows:

- Origination:

The issuance of a regular work order may be based upon information received from residents, staff, commissioners, or the general public.  When information received in the Management Office indicates a work order needs to be issued, it is the staff member receiving the request’s responsibility to ensure the expeditious issuance of the work order.  Seasonal items will be scheduled by the Maintenance Director.

- Assignment

The method used to assign work orders to the Maintenance Director will be based upon the time received.  The Maintenance Director may assign a level of importance (e.g. routine vs. emergency) to the work order, otherwise all work orders will be processed in sequence.  (Emergencies are defined as situations that could harm the tenant or the property, such as toilet overflows, gas leaks, etc.).  Level of difficulty will generally not have a bearing on the order of completion.

- Closing

At completion of all work items on a work order, the Maintenance Director will completely fill out and sign the work order form. All completed work orders will be documented and filed at the Management Office each day.  Before leaving the apartment the Maintenance Director will leave a maintenance door hanger that will indicate what work was performed.  This hanger will be left on the door handle or in a conspicuous place, such as the kitchen table.

  - ANNUAL INSPECTIONS

Living units and major systems inspections are required annually to meet PHAS requirements.  The HA plans to perform its annual living unit inspections and its major systems inspections with the Maintenance Director.  The inspections are generally scheduled in the month of April.

- Frequency

All dwelling units of the HA will be inspected at least annually.  A move-out inspection will be conducted in all vacant apartments within (2) working days after becoming vacant.  A move-in inspection will be conducted with the resident at the time of move-in for any apartment being newly occupied.

(2)

- Standard

All inspections will utilize the HUD Housing Quality Standards (HQS).  All conditions noted during any inspection that does not meet HQS will be documented in writing.  One HUD Inspection Form 52580-A will be filled out for each inspection performed.

- Correction of Deficiencies

  - Unit Deficiencies Which Are HQS Violations

All HQS violations identified during any inspection will require the following actions:

- Documentation on Form 52580-A in the Decision and Comment columns

at the applicable Item Number.

- Issuance of, or inclusion on a Work Order specifying the action needed for correction of the HQS violation.  Any work order issued which includes work to correct a HQS violation must be unit-specific.  That is, it must deal with only one unit.

- Date of Final Approval must be entered at the appropriate place on  Form 52580-A when each HQS violation has been corrected.

  - Unit Deficiencies Which Are Not HQS Violations

For all unit deficiencies identified during an inspection which will reuire repair work but are not HQS violations, issuance of, or inclusion on, a Work Order specifying the action needed for correction of the deficiency will be required.

  - Goals

It is the goal of the Board of Commissioners that identified unit deficiencies be corrected as follows:

- HQS violations which constitute emergency items, as determined by

HUD, should be alleviated or corrected within 24 hours.

- All identified unit deficiencies, which do not constitute HQS violations, should be corrected within an average of calendar days.

(3)

  - MAKING VACANT UNITS READY FOR OCCUPANCY

The HA has the Maintenance Director to return vacant apartments to occupancy in less than 20 days.  In addition, in the case of a multiple vacancies or extensive damage to an apartment, outside contractors may be utilized to expedite the return of vacant units for occupancy.

The procedures for preparing apartments for occupancy are:

- Upon vacancy, the Maintenance Director will inspect the apartment and prepare a list of items to be inspected, repaired, or replaced in the vacant apartment.

- The list of work items for the apartment will be provided to the Office

where a work order will be issued for the apartment to be made ready for occupancy.  A list of work items for that apartment will be attached.

- The Maintenance Director will review the work list and schedule the

work that needs to be done.  Items listed will be checked off the list as they are completed.  When all items are completed, the list shall be attached to the completed Work Order.

- Upon completion of the Work Order, the Maintenance Director will notify the Executive Director that the maintenance repairs have been completed in the apartment.

  - PREVENTATIVE MAINTENANCE

The HA has developed a PM schedule for the development that will enable the Maintenance Director to perform the required PM activities on a weekly basis in conjunction with the normal routine work orders and emergencies without disruption or creating a demand for overtime to accomplish the task.  The PM schedules have been designed to be completed in no more than ten months to allow sufficient time for other maintenance work and to program those seasonal PM requirements into the proper sequence so that the entire PM program will be completed on a timely, cost-effective and overtime-free basis.

- Pest Control and Eradication

It is the policy of the EHA to contract for a quality assured pest control program that will effect maximum control of insect and rodent pests with a minimum amount of pesticide.  This service will be via a contract with a  company that provides professionally trained and licensed technicians. We will require monthly inspections or more frequent visits if a problem is observed and seasonal preventative maintenance.  The EHA currently has a Pest Control Company servicing the development.

(4)

  - EXTRAORDINARY REPAIRS

The HA will make allowances for extraordinary repairs as needed.  The HA will solicit Captial Funding, whenever it is offered if it is deemed by the Board of Commissioners and the Executive Director that such funding is needed for extraordinary repairs and/or modernization.

  - EMERGENCY REPAIRS

The assignment of our Maintenance Director to an on-site unit for residency, not only provides adequate time to respond to routine and PM work orders, but also to quickly react to any emergency.  Emergencies aris when residents and/or HA staff are faced with a health or life-threatening situation or there is a condition which might result in serious structural or system damage, if not corrected within a 24-hour period.

Emergencies will fall into one of two categories:  1) those happening during the regular workday, or 2) those that occur after hours or on weekends.  The HA has procedures for each category, and the information is contained in an Emergency Response folder that is available in the Office.

  - SERVICE CONTRACTS

The HA has contracted with outside firms to provide cycle painting, landscaping/yard services,  garbage collection, weekly cleaning of common areas and office, HVAC repair, pest control services, elevator maintenance, etc.  Each of these contracts were procured in accordance with the HA’s procurement policies, based upon HUD regulations at 24 CFR 85.36.

All contractors were selected with the competitive-proposal method and the total amount of the contracts are well within our operating budget for the year.

  - MATERIALS, SUPPLIES, AND EQUIPMENT

The Maintenance Director shall procure materials, supplies, and equipment at his discretion and within his Maintenance Budget.  Extraordinary and unexpected expenses must be approved by the Executive Director and/or the Board of Commissioners.

  - BUDGET

The Maintenance Director shall prepare a budget for materials, supplies, and equipment each year.  The HA budget will be developed based upon established goals, schedules, staff requirements, and known income sources.

(5)